## WELL-v2 Q4 2018
Concept | P/O | Feature | Part | Points | Applicability | Extra Point-Earning Opportunity | Notes
Air |  |  |  | 18
| P | 01. Fundamental Air Quality | 1. Meet Thresholds for Particulate Matter | - | Non-Leased Spaces | None
|  |  | 2. Meet Thresholds for Organic Gases | - | Non-Leased Spaces | None
|  |  | 3. Meet Thresholds for Inorganic Gases | - | Non-Leased Spaces | None
|  |  | 4. Meet Radon Threshold | - | Non-Leased Spaces | None
|  |  | 5. Monitor Fundamental Air Parameters | - | Non-Leased Spaces | None
| P | 02. Smoke-Free Environment | 1. Prohibit Indoor Smoking | - | Whole Building | None
|  |  | 2. Prohibit Outdoor Smoking | - | Whole Building | None
| P | 03. Ventilation Effectiveness | 1. Ensure Adequate Ventilation | - | Whole Building | None | If the project pursues the options for mechanically ventilated spaces or mixed-mode ventilated spaces, it must facilitate tenant achievement in leased spaces.
|  |  | 2. Conduct System Balancing | - | Whole Building | None | The project is responsible for confirming that the total amount of air entering tenant spaces is sufficient.
| P | 04. Construction Pollution Management | 1. Mitigate Construction Pollution | - | Extent of Developer Buildout | None
| O | 05. Enhanced Air Quality | 1. Meet Enhanced Thresholds for Particulate Matter | 2 | Whole Building | None | Achievement requires access to at least 10% of leased space for testing as identified by the project.
|  |  | 2. Meet Enhanced Thresholds for Organic Gases | 1 | Whole Building | None | Achievement requires access to at least 10% of leased space for testing as identified by the project.
|  |  | 3. Meet Enhanced Thresholds for Inorganic Gases | 1 | Whole Building | None | Achievement requires access to at least 10% of leased space for testing as identified by the project.
| O | 06. Enhanced Ventilation | 1. Increase Outdoor Air Supply | 3 | Whole Building | None
|  |  | 2. Implement Demand-Controlled Ventilation | 3 | Whole Building | None | The project must provide assumptions used for identifying anticipated occupancy zones.
|  |  | 3. Implement Displacement Ventilation | 1 | Whole Building | None
|  |  | 4. Implement Advanced Air Distribution | 3 | Whole Building | None
| O | 07. Operable Windows | 1. Provide Operable Windows | 1 | Whole Building | None
|  |  | 2. Manage Window Use | 1 | Whole Building | None | Data displays must be placed in tenant-accessible areas or otherwise made available to tenants.
|  |  | 3. Apply Universal Design to Windows | 1 | Whole Building | None
| O | 08. Air Quality Monitoring and Awareness | 1. Implement Indoor Air Monitors | 1 | Non-Leased Spaces | None | Data displays must be placed in tenant-accessible areas or otherwise made available to tenants.
|  |  | 2. Promote Air Quality Awareness | 1 | Non-Leased Spaces | Yes | The project may earn an extra point if environmental parameters are measred in all leased spaces. If the project is not pursuing an extra point, environmental parameters may be measured in non-leased spaces but display and education must be available to all tenants.
| O | 09. Pollution Infiltration Management | 1. Design Healthy Envelope and Entryways | 1 | Whole Building | None
| O | 10. Combustion Minimization | 1. Manage Combustion | 1 | Whole Building | None
| O | 11. Source Separation | 1. Manage Pollution and Exhaust | 1 | Non-Leased Spaces | None
| O | 12. Air Filtration | 1. Implement Particle Filtration | 1 | Whole Building | None
| O | 13. Active VOC Control | 1. Implement Carbon Filtration | 1 | Whole Building | None
| O | 14. Microbe and Mold Control | 1. Implement Ultraviolet Air Treatment | 1 | Whole Building | None
|  |  | 2. Manage Condensation and Mold | 1 | Whole Building | None
Water |  |  |  | 9
| P | 01. Fundamental Water Quality | 1. Meet Sediment Thresholds | - | Whole Building | None | For performance testing, water will be sampled from non-leased spaces and the project must either (1) confirm that the same water treatment system (if applicable) will be used in leased spaces, or (2) provide an allowance to tenants to purchase the same type of treatment system (if applicable) in leased spaces.
|  |  | 2. Meet Microorganisms Thresholds | - | Whole Building | None | For performance testing, water will be sampled from non-leased spaces and the project must either (1) confirm that the same water treatment system (if applicable) will be used in leased spaces, or (2) provide an allowance to tenants to purchase the same type of treatment system (if applicable) in leased spaces.
|  |  | 3. Monitor Fundamental Water Parameters | - | Whole Building | None
| P | 02. Water Contaminants | 1. Meet Dissolved Metal Thresholds | - | Whole Building | None | For performance testing, water will be sampled from non-leased spaces and the project must either (1) confirm that the same water treatment system (if applicable) will be used in leased spaces, or (2) provide an allowance to tenants to purchase the same type of treatment system (if applicable) in leased spaces.
|  |  | 2. Meet Organic Pollutant Thresholds | - | Whole Building | None | For performance testing, water will be sampled from non-leased spaces and the project must either (1) confirm that the same water treatment system (if applicable) will be used in leased spaces, or (2) provide an allowance to tenants to purchase the same type of treatment system (if applicable) in leased spaces.
|  |  | 3. Meet Disinfectant Byproducts Thresholds | - | Whole Building | None | For performance testing, water will be sampled from non-leased spaces and the project must either (1) confirm that the same water treatment system (if applicable) will be used in leased spaces, or (2) provide an allowance to tenants to purchase the same type of treatment system (if applicable) in leased spaces.
|  |  | 4. Meet Herbicide and Pesticide Thresholds | - | Whole Building | None | For performance testing, water will be sampled from non-leased spaces and the project must either (1) confirm that the same water treatment system (if applicable) will be used in leased spaces, or (2) provide an allowance to tenants to purchase the same type of treatment system (if applicable) in leased spaces.
|  |  | 5. Meet Fertilizer Thresholds | - | Whole Building | None | For performance testing, water will be sampled from non-leased spaces and the project must either (1) confirm that the same water treatment system (if applicable) will be used in leased spaces, or (2) provide an allowance to tenants to purchase the same type of treatment system (if applicable) in leased spaces.
|  |  | 6. Meet Public Water Additive Thresholds | - | Whole Building | None | For performance testing, water will be sampled from non-leased spaces and the project must either (1) confirm that the same water treatment system (if applicable) will be used in leased spaces, or (2) provide an allowance to tenants to purchase the same type of treatment system (if applicable) in leased spaces.
|  |  | 7. Monitor Water Contaminant Parameters | - | Whole Building | None
| P | 03. Legionella Control | 1. Implement Legionella Management Plan | - | Whole Building | None
| O | 04. Enhanced Water Quality | 1. Meet Drinking Water Taste Properties | 1 | Whole Building | None | For performance testing, water will be sampled from non-leased spaces and the project must either (1) confirm that the same water treatment system (if applicable) will be used in leased spaces, or (2) provide an allowance to tenants to purchase the same type of treatment system (if applicable) in leased spaces.
| O | 05. Water Quality Consistency | 1. Test and Display Water Quality | 1 | Whole Building | None | For performance testing, water will be sampled from non-leased spaces and the project must either (1) confirm that the same water treatment system (if applicable) will be used in leased spaces, or (2) provide an allowance to tenants to purchase the same type of treatment system (if applicable) in leased spaces. Display of water quality must be in tenant-accessible areas or made otherwise available.
|  |  | 2. Filter Drinking Water | 1 | Whole Building | None | For performance testing, water will be sampled from non-leased spaces and the project must either (1) confirm that the same water treatment system (if applicable) will be used in leased spaces, or (2) provide an allowance to tenants to purchase the same type of treatment system (if applicable) in leased spaces.
| O | 06. Drinking Water Promotion | 1. Ensure Drinking Water Access | 1 | Whole Building | None
| O | 07. Moisture Management | 1. Manage Exterior Liquid Water | 1 | Whole Building | None
|  |  | 2. Isolate Moisture-sensitive Materials | 1 | Whole Building | None
|  |  | 3. Manage Interior Liquid Water | 1 | Whole Building | None
| O | 08. Handwashing | 1. Provide Adequate Sink | 1 | Extent of Developer Buildout | Yes | The project may earn an extra point for achievement in all leased spaces.
|  |  | 2. Provide Handwashing Support | 1 | Extent of Developer Buildout | Yes | The project may earn an extra point for achievement in all leased spaces.
Nourishment |  |  |  | 17
| P | 01. Fruits and Vegetables | 1. Ensure Fruit and Vegetable Availability | - | Non-Leased Spaces | None
|  |  | 2. Promote Fruit and Vegetable Visibility | - | Non-Leased Spaces | None
| P | 02. Nutritional Transparency | 1. Provide Nutritional Information | - | Non-Leased Spaces | None
|  |  | 2. Implement Ingredient Labeling | - | Non-Leased Spaces | None
|  |  | 3. Implement Refined Ingredient Labeling | - | Non-Leased Spaces | None
| O | 03. Refined Ingredients | 1. Limit Total Sugars | 1 | Non-Leased Spaces | None
|  |  | 2. Promote Whole Grains | 1 | Non-Leased Spaces | None
|  |  | 3. Manage Oils | 1 | Non-Leased Spaces | None
| O | 04. Food Advertising | 1. Promote Healthy Nutritional Messaging | 1 | Non-Leased Spaces | None
|  |  | 2. Implement Healthy Menu Design | 1 | Non-Leased Spaces | None
| O | 05. Artificial Ingredients | 1. Restrict Artificial Ingredients | 1 | Non-Leased Spaces | None
| O | 06. Portion Sizes | 1. Promote Healthy Portions | 1 | Non-Leased Spaces | None
| O | 07. Nutrition Education | 1. Provide Nutrition Education | 1 | Non-Leased Spaces | None | Education must be available to all tenants.
| O | 08. Mindful Eating | 1. Include Designated Eating Space | 1 | Non-Leased Spaces | Yes | The project may earn an extra point for providing amenities sized for tenant capacity in leased spaces or in tenant-accessible non-leased spaces.
|  |  | 2. Provide Daily Meal Breaks | 1 | Direct Staff | None
| O | 09. Special Diets | 1. Manage Allergies and Alternatives | 1 | Non-Leased Spaces | None
|  |  | 2. Implement Enhanced Ingredient Labeling | 1 | Non-Leased Spaces | None
| O | 10. Food Preparation | 1. Provide Meal Support | 1 | Non-Leased Spaces | Yes | The project may earn an extra point for providing amenities sized for tenant capacity in leased spaces or in tenant-accessible non-leased spaces.
| O | 11. Responsible Food Sourcing | 1. Implement Responsible Sourcing | 1 | Non-Leased Spaces | None
| O | 12. Food Production | 1. Provide Gardening Space | 1 | Non-Leased Spaces | Yes | The project may earn an extra point for providing amenities sized for tenant capacity in leased spaces or in tenant-accessible non-leased spaces.
|  |  | 2. Provide Planting Support | 1 | Non-Leased Spaces | None | If the project achieves the extra point for Part 1: Provide Planting Support in leased spaces or tenant-accessible non-leased spaces, then trainings and education must be available to all tenants.
| O | 13. Local Food Environment | 1. Ensure Food Access | 1 | Whole Building | None
Light |  |  |  | 14
| P | 01. Light Exposure and Education | 1. Ensure Indoor Light Exposure | - | Whole Building | None | If the project pursues L03: Circadian Lighting Design to meet this feature, achievement requires access to at least 10% of leased space for testing as identified by the project. If the project pursues the daylighting options, the project must provide assumptions used for calculations for areas anticipated for regular occupancy in leased spaces.
|  |  | 2. Promote Lighting Education | - | Non-Leased Spaces | None | Education must be available to all tenants.
| P | 02. Visual Lighting Design | 1. Light Levels for Visual Acuity | - | Non-Leased Spaces | Yes | Extra point for achievement in leased spaces.
| O | 03. Circadian Lighting Design | 1. Lighting for the Circadian System | 3 | Whole Building | None | Achievement requires access to at least 10% of leased space for testing as identified by the project.
| O | 04. Glare Control | 1. Control Solar Glare | 2 | Whole Building | None | For option 1: window shading, the project does not need to demonstrate achievement of this featue in leased spaces if tenants opt out of shading. For option 2: glare calculation, the project must provide assumptions used for calculations for interior finishes and walls.
|  |  | 2. Manage Glare from Electric Lighting | 2 | Whole Building | None
| O | 05. Enhanced Daylight Access | 1. Implement Enhanced Daylight Plan | 1 | Whole Building | None | The project must provide assumptions used for calculations for areas anticipated for regular occupancy or for anticipated locations of tenant workstations in leased spaces.
|  |  | 2. Implement Enhanced Daylight Simulation | 2 | Whole Building | None | The project must provide assumptions used for calculations for areas anticipated for regular occupancy in leased spaces.
|  |  | 3. Ensure Views | 1 | Whole Building | None | The project must provide assumptions used for calculations for anticipated locations of tenant workstations in leased spaces.
| O | 06. Visual Balance | 1. Manage Brightness | 1 | Whole Building | None
| O | 07. Electric Light Quality | 1. Ensure Color Rendering Quality | 1 | Whole Building | None
|  |  | 2. Manage Flicker | 1 | Whole Building | None
| O | 08. Occupant Control of Lighting Environments | 1. Enhance Occupant Controllability | 1 | Whole Building | None
|  |  | 2. Provide Supplemental Lighting | 1 | Non-Leased Spaces | Yes | The project may earn an extra point for achievement in all leased spaces.
Movement |  |  |  | 20
| P | 01. Active Buildings and Communities | 1. Design Active Buildings and Communities | - | See applicability for chosen optimization. | See applicability for chosen optimization. | See applicability for chosen optimization.
| P | 02. Visual and Physical Ergonomics | 1. Support Visual Ergonomics | - | Non-Leased Spaces | Yes | The project may earn an extra point for achievement in all leased spaces.
|  |  | 2. Ensure Desk Height Flexibility | - | Non-Leased Spaces | Yes | The project may earn an extra point for achievement in all leased spaces.
|  |  | 3. Ensure Seat Flexibility | - | Non-Leased Spaces | Yes | The project may earn an extra point for achievement in all leased spaces.
|  |  | 4. Provide Standing Support | - | Non-Leased Spaces | Yes | The project may earn an extra point for achievement in all leased spaces.
|  |  | 5. Provide Ergonomics Education | - | Non-Leased Spaces | None | Education must be available to all tenants. The project is exempt from requirements d and e.
| O | 03. Movement Network and Circulation | 1. Design Aesthetic Circulation Networks | 1 | Whole Building | None
|  |  | 2. Integrate Point-of-Decision Signage | 1 | Whole Building | None
|  |  | 3. Promote Visible Stairs | 1 | Whole Building | None
| O | 04. Active Commuter and Occupant Support | 1. Provide Bicycle Storage | 2 | Whole Building | None
|  |  | 2. Provide Facilities for Active Occupants | 2 | Whole Building | None
| O | 05. Site Planning and Selection | 1. Select Sites with Diverse Uses | 2 | Whole Building | None
|  |  | 2. Select Sites with Access to Mass Transit | 2 | Whole Building | None
|  |  | 3. Select Sites with Pedestrian Friendly Streets | 2 | Whole Building | None
|  |  | 4. Select Sites with Bike Friendly Streets | 2 | Whole Building | None
| O | 06. Physical Activity Opportunities | 1. Implement Activity Programs for Employees | 2 | Building Management Staff | Yes | The project may earn an extra point for making programming available at no cost to tenants.
|  |  | 2. Implement Activity Programs for Students | 2 | Non-Leased Spaces | None
| O | 07. Active Furnishings | 1. Provide Active Workstations | 2 | Non-Leased Spaces | Yes | The project may earn an extra point for achievement in leased spaces.
| O | 08. Physical Activity Spaces and Equipment | 1. Provide Dedicated Activity Spaces | 1 | Non-Leased Spaces | Yes | The project may earn one extra point for achieving Part 1: Provide Dedicated Activity Spaces and Part 2: Provide Physical Activity Spaces. The space may be leased spaces or in tenant-accessible non-leased spaces, and total units of equipment provided must meet tenant capacity.
|  |  | 2. Provide Physical Activity Equipment | 1 | Non-Leased Spaces | Yes | The project may earn one extra point for achieving Part 1: Provide Dedicated Activity Spaces and Part 2: Provide Physical Activity Spaces. The space may be leased spaces or in tenant-accessible non-leased spaces, and total units of equipment provided must meet tenant capacity.
|  |  | 3. Provide Off-Site Activity Spaces | 1 | Whole Building | None
| O | 09. Exterior Active Design | 1. Integrate Active Façades | 1 | Whole Building | None
|  |  | 2. Provide On-Site Pedestrian Destinations | 1 | Whole Building | None
| O | 10. Enhanced Ergonomics | 1. Utilize Ergonomic Consultation | 1 | Building Management Staff | Yes | The project may earn an extra point for making ergonomic services available at no cost to tenants.
| O | 11. Physical Activity Promotion | 1. Promote Physical Activity | 1 | Direct Staff | Yes | The project may earn an extra point for providing incentives to tenants.
|  |  | 2. Promote Participation Awareness | 1 | Direct Staff | None
| O | 12. Self-Monitoring | 1. Provide Self-Monitoring Tools | 1 | Direct Staff | Yes | The project may earn an extra point for providing self-monitoring tools to tenants at no cost or subsidized by at least 50%.
Thermal Comfort |  |  |  | 12
| P | 01. Thermal Performance | 1. Support Thermal Environment | - | Whole Building | None | Performance testing will be conducted in non-leased spaces.
|  |  | 2. Monitor Thermal Parameters | - | Non-Leased Spaces | None
| O | 02. Enhanced Thermal Performance | 1. Enhance Thermal Environment | 1 | Whole Building | None
|  |  | 2. Achieve Thermal Comfort | 3 | Whole Building | None
| O | 03. Thermal Zoning | 1. Ensure Thermostat Control | 2 | Whole Building | None
|  |  | 2. Promote Free Address | 1 | Building Management Staff | None
| O | 04. Individual Thermal Control | 1. Ensure Personal Thermal Comfort | 3 | Non-Leased Spaces | Yes | The project may earn an extra point for achievement in all leased spaces.
|  |  | 2. Facilitate Thermal Adaptation | 1 | Direct Staff | None
| O | 05. Radiant Thermal Comfort | 1. Implement Radiant Systems | 1 | Whole Building | None
|  |  | 2. Implement Dedicated Outdoor Air Systems | 1 | Whole Building | None
| O | 06. Thermal Comfort Monitoring | 1. Monitor Thermal Environment | 1 | Non-Leased Spaces | None
| O | 07. Humidity Control | 1. Manage Relative Humidity | 1 | Whole Building | None | The project must facilitate tenant achievement in leased spaces.
Sound |  |  |  | 11
| P | 01. Sound Mapping | 1. Manage Background Noise Level | - | Non-Leased Spaces | None
|  |  | 2. Manage Acoustical Privacy | - | Non-Leased Spaces | None
|  |  | 3. Label Acoustic Zones | - | Non-Leased Spaces | None
| O | 02. Maximum Noise Levels | 1. Limit Background Noise Levels | 3 | Non-Leased Spaces | None
| O | 03. Sound Barriers | 1. Ensure Adequate Wall Construction | 2 | Whole Building | None | Achievement requires access to at least 10% of leased space for testing.
|  |  | 2. Ensure Proper Door Specifications | 1 | Whole Building | None
| O | 04. Sound Absorption | 1. Meet Thresholds for Reverberation Time | 1 | Whole Building | None | Achievement requires access to at least 10% of leased space for testing.
|  |  | 2. Implement Sound Reducing Ceilings | 1 | Whole Building | None
|  |  | 3. Implement Sound Reducing Vertical Surfaces | 1 | Whole Building | None
| O | 05. Sound Masking | 1. Implement Sound Masking | 2 | Whole Building | None | Achievement requires access to at least 10% of leased space for testing.
Materials |  |  |  | 24
| P | 01. Fundamental Material Precautions | 1. Restrict Asbestos | - | Extent of Developer Buildout | Yes | The project may earn an extra point for requiring compliance in leased spaces.
|  |  | 2. Limit Mercury | - | Extent of Developer Buildout | Yes | The project may earn an extra point for requiring compliance in leased spaces.
|  |  | 3. Restrict Lead | - | Extent of Developer Buildout | Yes | The project may earn an extra point for requiring compliance in leased spaces.
| P | 02. Hazardous Material Abatement | 1. Manage Asbestos Hazards | - | Whole Building | None
|  |  | 2. Manage Lead Hazards | - | Whole Building | None
|  |  | 3. Manage Polychlorinated Biphenyl (PCB) Hazards | - | Whole Building | None
| P | 03. Outdoor Structures | 1. Ensure Acceptable Structures | - | Whole Building | None
|  |  | 2. Manage Exterior Paint and Soil | - | Whole Building | None
| O | 04. Waste Management | 1. Manage Hazardous Waste | 1 | Whole Building | None
| O | 05. In-Place Management | 1. Manage Hazardous Materials | 2 | Whole Building | None
| O | 06. Site Remediation | 1. Implement Site Assessment and Cleanup | 2 | Whole Building | None
| O | 07. Pesticide Use | 1. Manage Pesticides | 1 | Whole Building | None
| O | 08. Hazardous Material Reduction | 1. Limit Hazardous Materials | 1 | Extent of Developer Buildout | Yes | The project may earn an extra point for requiring compliance in leased spaces.
| O | 09. Cleaning Products and Protocol | 1. Ensure Acceptable Cleaning Ingredients | 1 | Non-Leased Spaces | Yes | The project may earn an extra point for achievement in all leased spaces.
|  |  | 2. Implement Acceptable Cleaning Practices | 1 | Non-Leased Spaces | Yes | The project may earn an extra point for achievement in all leased spaces.
| O | 10. Volatile Compound Reduction | 1. Manage Volatile Organic Compounds | 2 | Extent of Developer Buildout | Yes | The project may earn an extra point for requiring compliance in leased spaces.
|  |  | 2. Manage Semi-Volatile Organic Compounds (SVOCs) | 1 | Extent of Developer Buildout | Yes | The project may earn an extra point for requiring compliance in leased spaces.
|  |  | 3. Purchase Compliant Products | 1 | Non-Leased Spaces | Yes | The project may earn an extra point for requiring compliance in leased spaces.
| O | 11. Long-Term Emission Control | 1. Manage Furniture and Furnishings Emissions | 2 | Extent of Developer Buildout | None
|  |  | 2. Manage Flooring and Insulation Emissions | 1 | Extent of Developer Buildout | None
| O | 12. Short-Term Emission Control | 1. Manage Product Emissions: Adhesives, Sealants, Paints and Coatings | 3 | Extent of Developer Buildout | Yes | The project may earn an extra point for requiring compliance in leased spaces.
|  |  | 2. Manage Product Content: Adhesives, Sealants, Paints and Coatings | 2 | Extent of Developer Buildout | Yes | The project may earn an extra point for requiring compliance in leased spaces.
| O | 13. Enhanced Material Precaution | 1. Select Optimized Materials | 2 | Extent of Developer Buildout | Yes | The project may earn an extra point for requiring compliance in leased spaces.
| O | 14. Material Transparency | 1. Promote Ingredient Disclosure | 2 | Extent of Developer Buildout | Yes | The project may earn an extra point for requiring compliance in leased spaces. Information must be made available to all tenants.
Mind |  |  |  | 26
| P | 01. Mental Health Promotion | 1. Commit to Mental Health Promotion | - | Direct Staff | None
|  |  | 2. Promote Mental Health Literacy | - | Building Management Staff | None
| P | 02. Access to Nature | 1. Provide Access to Nature | - | Non-Leased Spaces | None
| O | 03. Mental Health Support | 1. Provide Mental Health Screening | 1 | Direct Staff | None
|  |  | 2. Provide Mental Health Coverage | 1 | Direct Staff | None
|  |  | 3. Provide Workplace Support | 1 | Direct Staff | None
| O | 04. Mental Health Education | 1. Offer Mental Health Education | 1 | Direct Staff | None
|  |  | 2. Offer Mental Health Education for Managers | 1 | Direct Staff | None
| O | 05. Stress Support | 1. Develop Stress Management Plan | 1 | Direct Staff | None
|  |  | 2. Support Stress Management Programs | 1 | Direct Staff | None
| O | 06. Restorative Opportunities | 1. Provide Micro- and Macro-Breaks | 1 | Direct Staff | None
| O | 07. Restorative Spaces | 1. Provide Restorative Indoor Spaces | 1 | Whole Building | None
|  |  | 2. Provide Restorative Outdoor Spaces | 1 | Whole Building | None
| O | 08. Restorative Programming | 1. Provide Restorative Programming | 1 | Direct Staff | None
| O | 09. Enhanced Access to Nature | 1. Provide Enhanced Access to Nature | 1 | Whole Building | None
| O | 10. Focus Support | 1. Assess Work Environment | 1 | Direct Staff | None
|  |  | 2. Integrate Space Management | 1 | Non-Leased Spaces | None
| O | 11. Sleep Support | 1. Provide Workplace Sleep Support | 1 | Direct Staff | None
|  |  | 2. Provide Non-Workplace Sleep Support | 1 | Direct Staff | None
| O | 12. Business Travel | 1. Provide Business Travel Support | 1 | Direct Staff | None
| O | 13. Tobacco Prevention and Cessation | 1. Promote Tobacco Prevention | 1 | Whole Building | None | Education must be made available to all tenants.
|  |  | 2. Support Tobacco Cessation | 2 | Direct Staff | None
| O | 14. Substance Use Education and Services | 1. Promote Substance Abuse Prevention and Education | 1 | Direct Staff | None
|  |  | 2. Provide Access to Substance Use Services | 2 | Direct Staff | None
| O | 15. Opioid Emergency Response Plan | 1. Provide Opioid Emergency Response Kits and Training | 3 | Whole Building | None
Community |  |  |  | 31
| P | 01. Health and Wellness Awareness | 1. Provide WELL Feature Guide (Protocol) | 0 | Whole Building | None
|  |  | 2. Promote Health and Wellness Education | 0 | Whole Building | None
| P | 02. Integrative Design | 1. Facilitate Stakeholder Charrette | 0 | Building Management Staff | None
|  |  | 2. Integrate Beauty and Design | 0 | Non-Leased Spaces | None
|  |  | 3. Promote Health-Oriented Mission | 0 | Whole Building | None
|  |  | 4. Facilitate Stakeholder Orientation | 0 | Building Management Staff | None
| P | 03. Occupant Survey | 1. Select Project Survey | 0 | Direct Staff | None
|  |  | 2. Administer Survey and Report Results | 0 | Direct Staff | None
| O | 04. Enhanced Occupant Survey | 1. Select Enhanced Survey | 1 | Direct Staff | None
|  |  | 2. Administer Pre-Occupancy Survey and Report Results | 1 | Direct Staff | None
|  |  | 3. Monitor Survey Responses | 1 | Direct Staff | None
|  |  | 4. Facilitate Interviews and Focus Groups | 1 | Direct Staff | None
| O | 05. Health Services and Benefits | 1. Promote Health Benefits | 2 | Direct Staff | None
|  |  | 2. Offer On-Demand Health Services | 1 | Direct Staff | None
| O | 06. Health Promotion | 1. Promote Culture of Health | 2 | Direct Staff | None
|  |  | 2. Offer Health Risk Assessments | 1 | Direct Staff | None
| O | 07. Community Immunity | 1. Promote Seasonal Flu Prevention | 1 | Direct Staff | None
|  |  | 2. Implement Immunization Schedule | 1 | Direct Staff | None
| O | 08. New Parent Support | 1. Offer New Parent Leave | 3 | Direct Staff | None
|  |  | 2. Promote Workplace Support | 1 | Direct Staff | None
| O | 09. New Mother Support | 1. Offer Workplace Breastfeeding Support | 1 | Direct Staff | None
|  |  | 2. Design Lactation Room | 2 | Direct Staff | Yes | The project may earn an extra point for achievement in all leased spaces.
|  |  | 3. Promote Breastfeeding Education and Support | 1 | Direct Staff | None
| O | 10. Family Support | 1. Offer Childcare Support | 1 | Direct Staff | None
|  |  | 2. Offer Eldercare Support | 1 | Direct Staff | None
|  |  | 3. Offer Family Leave | 1 | Direct Staff | None
|  |  | 4. Offer Bereavement Support (Protocol) | 1 | Direct Staff | None
| O | 11. Civic Engagement | 1. Promote Civic Engagement | 1 | Direct Staff | None
| O | 12. Organizational Transparency | 1. Promote Equity Program Participation | 2 | Non-Leased Spaces | None
| O | 13. Accessibility and Universal Design | 1. Ensure Essential Accessibility | 1 | Extent of Developer Buildout | None
|  |  | 2. Integrate Universal Design | 2 | Extent of Developer Buildout | None
| O | 14. Bathroom Accommodations | 1. Provide Essential Accommodations | 1 | Extent of Developer Buildout | None
|  |  | 2. Provide Single-User Bathrooms | 1 | Extent of Developer Buildout | None
|  |  | 3. Provide Family Bathrooms | 1 | Extent of Developer Buildout | None
| O | 15. Emergency Preparedness | 1. Develop Emergency Preparedness Plan | 1 | Whole Building | None
|  |  | 2. Promote Emergency Resources | 2 | Whole Building | None
| O | 16. Community Access and Engagement | 1. Provide Community Space (Protocol) | 1 | Whole Building | None